## OCT vs Histology Data
Lesion |  | Nvision OCT | [9 empty] | Histology measurements (Preliminary) |  |  |  | Notes |  |  | 10% | 50% | 75%
Ureter # | Power | Patient Name | Scan F# | Total slices | Starting slice | 12 | 50 | 75 | Ending slice | Lesion size (#slices) | Lesion size (cm) | Block # | # slides | Max slide | Preliminary max lesion mm (cm)
Control 1 | 0 | URT_RF_1 | 1 | 1200 | 806 |  |  |  | 881 | 75 | 0.375 | 47 | 15 |  |  |  | 1 | 0.30938
Control 2 | 0 | URT_RF_1 | 1 | 1200 | 0 |  |  |  | 1200 | 1200 | 6 | 48 | 20 |  |  |  | 2 | 0.60833
Control 3 | 0 | URT_RF_1 | 1 | 1200 | 0 |  |  |  | 1200 | 1200 | 6 | 49 | 20 |  |  |  | 3 | 0.511
2 | 1.5 | URT_RF_1 | 7 | 548 | 27 | 32.875 | 50.5 | 62.25 | 74 | 47 | 0.235 | 55 | 8 | 4 | 0.21
3 | 1.5 | URT_RF_1 | 10 | 1047 | 101 | 112.125 | 145.5 | 167.75 | 190 | 89 | 0.445 | 58 | 12 | 3 | 0.303
4 | 1.5 | URT_RF_2 | 1 | 1200 | 800 | 805.125 | 820.5 | 830.75 | 841 | 41 | 0.205 | 61 | 14 | 7 | 0.13
5 | 1.5 | URT_RF_2 | 4 | 1200 | 795 | 811.25 | 860 | 892.5 | 925 | 130 | 0.65 | 65.1 | 13 | 10 | 0.283
6 | 1.5 | URT_RF_3 | 5 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 13 | 0 | 0 | No lesion on OCT
7 | 1.5 | URT_RF_3 | 7 | 357 | 270 | 272.25 | 279 | 283.5 | 288 | 18 | 0.09 | 78 | 11 | 0 | 0 | No lesion on histology
8 | 1.5 | URT_RF_3 | 12 | 422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 11 | 0 | 0 | No lesion on OCT |  | `
9 | 1.5 | URT_RF_3 | 13 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 14 | 0 | 0 | No lesion on OCT
10 | 1.5 | URT_RF_3 | 15 | 1200 | 325 | 331.875 | 352.5 | 366.25 | 380 | 55 | 0.275 | 87 | 10 | 7 | 0.2396
2 | 2 | URT_RF_1 | 6 | 1200 | 656 | 670.375 | 713.5 | 742.25 | 771 | 115 | 0.575 | 56 | 12 | 5 | 0.48
3 | 2 | URT_RF_1 | 10 | 1047 | 501 | 517.125 | 565.5 | 597.75 | 630 | 129 | 0.645 | 59 | 12 | 7 | 0.453
4 | 2 | URT_RF_2 | 1 | 1200 | 201 | 209.5 | 235 | 252 | 269 | 68 | 0.34 | 62 | 11 | 3 | 0.321
5 | 2 | URT_RF_2 | 2 | 430 | 132 | 145.75 | 187 | 214.5 | 242 | 110 | 0.55 | 66 | 10 | 5 | 0.39
6 | 2 | URT_RF_3 | 5 | 1200 | 255 | 263.375 | 288.5 | 305.25 | 322 | 67 | 0.335 | 76 | 9 | 6 | Ask path | Did not meet OCT injury criteria
7 | 2 | URT_RF_3 | 8 | 1092 | 262 | 268.875 | 289.5 | 303.25 | 317 | 55 | 0.275 | 79 | 10 | 2 | Ask path
8 | 2 | URT_RF_3 | 9 | 1200 | 712 | 721.75 | 751 | 770.5 | 790 | 78 | 0.39 | 82 | 12 | 4 | 0.3356
9 | 2 | URT_RF_3 | 14 | 1107 | 344 | 351.25 | 373 | 387.5 | 402 | 58 | 0.29 | 85 | 13 | 4 | 0.2847
10 | 2 | URT_RF_3 | 16 | 970 | 692 | 703.375 | 737.5 | 760.25 | 783 | 91 | 0.455 | 88 | 14 | 12 | 0.2868
2 | 3 | URT_RF_1 | 6 | 1200 | 90 | 116.25 | 195 | 247.5 | 300 | 210 | 1.05 | 57 | 15 | 6 | Ask path
3 | 3 | URT_RF_1 | 11 | 1056 | 743 | 775.125 | 871.5 | 935.75 | 1000 | 257 | 1.285 | 60 | 15 | 13 | 0.665
4 | 3 | URT_RF_1 | 12 | 819 | 285 | 301.75 | 352 | 385.5 | 419 | 134 | 0.67 | 63 | 16 | 16 | 0.62
5 | 3 | URT_RF_2 | 3 | 463 | 25 | 43.125 | 97.5 | 133.75 | 170 | 145 | 0.725 | 67 | 11 | 8 | 0.42
6 | 3 | URT_RF_3 | 6 | 1200 | 902 | 912.25 | 943 | 963.5 | 984 | 82 | 0.41 | 77 | 8 | 6 | 0.2668
7 | 3 | URT_RF_3 | 8 | 1092 | 794 | 807.75 | 849 | 876.5 | 904 | 110 | 0.55 | 80 | 13 | 11 | 0.4517
8 | 3 | URT_RF_3 | 9 | 1200 | 259 | 268.875 | 298.5 | 318.25 | 338 | 79 | 0.395 | 83 | 9 | 6 | 0.346
9 | 3 | URT_RF_3 | 14 | 1107 | 718 | 732 | 774 | 802 | 830 | 112 | 0.56 | 86 | 11 | 1 | 0.462
10 | 3 | URT_RF_3 | 15 | 1200 | 878 | 894 | 942 | 974 | 1006 | 128 | 0.64 | 89 | 15 | 3 | 0.345
Control 4 | 0 | URT_RF_3 | 1 | 1187 | 0 | [6 empty] | 90 | [6 empty] | 0 | 0 | 0
Control 5 | 0 | URT_RF_3 | 1 | 1187 | 0 | [6 empty] | 91 | [6 empty] | 0 | 0 | 0
Control 6 | 0 | URT_RF_3 | 2 | 316 | 0 | [6 empty] | 92 | [6 empty] | 0 | 0 | 0
Control 7 | 0 | URT_RF_3 | 3 | 1200 | 0 | [6 empty] | 93 | [6 empty] | 0 | 0 | 0
Control 8 | 0 | URT_RF_3 | 17 | 1017 | 0 | [6 empty] | 94 | [6 empty] | 0 | 0 | 0

## Power boxplot
Urt | Power | OCT lesion size measurement (cm)
1 | Low | 0.235
2 | Low | 0.445
3 | Low | 0.205
4 | Low | 0.65
5 | Low
6 | Low
7 | Low
8 | Low
9 | Low | 0.275
1 | Medium | 0.575
2 | Medium | 0.645
3 | Medium | 0.34
4 | Medium | 0.55
5 | Medium | 0.335
6 | Medium | 0.275
7 | Medium | 0.39
8 | Medium | 0.29
9 | Medium | 0.455
1 | High | 1.05
2 | High | 1.285
3 | High | 0.67
4 | High | 0.725
5 | High | 0.41
6 | High | 0.55
7 | High | 0.395
8 | High | 0.56
9 | High | 0.64
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Control Test Set
Slice numbers for physician test dataset controls and amount of figures used
Ureter # | Control 1 | Control 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | TOTAL
| 178 | 762 | 188 | 388 | 253 | 354 | 282 | 1030 | 26 | 465 | 951 | 80
| 318 | 888 | 289 | 1018 | 356 | 508 | 406 | 133 | 151 | 149 | 633 | 183
| 426 | 229 | 452 | 193 | 554 | 1069 | 292 | 1151 | 598 | 883 | 657 | 508
| 944 | 621 | 625 | 350 | 131 | 84 | 395 | 195 | 700 | 1003 | 1019 | 678
| 1064 | 806 | 313 |  | 194 | 357 | 283 |  | 1013 | 187 |  | 568
| 1165 | 245 | 1: 685; 3: 644; 4: 1029; 10: 369
# Figures used | 6 | 6 | 6 | 4 | 6 | 6 | 5 | 4 | 5 | 5 | 4 | 6 | 63

## Lesion Test Set
OCT lesion physician test data set summary
Power | Urt # | 12.5% | 50% | 75% | Notes
Low | 2 | yes | yes | no | artifact
Low | 3 | yes | yes | yes
Low | 4 | yes | yes | yes
Low | 5 | no | yes | yes | distortion
Low | 6 |  |  |  | no histo
Low | 7 |  |  |  | no histo
Low | 8 |  |  |  | no histo
Low | 9 |  |  |  | no histo
Low | 10 | yes | yes | yes |  |  | frequency possible
Total included |  | 4 | 5 | 4 | 13 | 15 | 86.67%
Total excluded |  | 1 | 0 | 1 | 2
Power | Urt # | 12.5% | 50% | 75%
Med | 2 | yes | yes | yes
Med | 3 | yes | yes | yes
Med | 4 | yes | yes | yes
Med | 5 | yes | yes | yes
Med | 6 |  |  |  | on fold
Med | 7 | yes | yes | yes
Med | 8 | yes | yes | yes
Med | 9 | yes | yes | yes
Med | 10 | yes | yes | yes |  |  | frequency possible
Total included |  | 8 | 8 | 8 | 24 | 24 | 100%
Total excluded |  | 0 | 0 | 0 | 0
Power | Urt # | 12.5% | 50% | 75% | notes
High | 2 | yes | yes | yes
High | 3 | yes | yes | yes
High | 4 | yes | yes | yes
High | 5 | no | yes | yes | artifact
High | 6 | yes | yes | yes
High | 7 | yes | yes | yes
High | 8 | yes | yes | yes
High | 9 | yes | yes | yes
High | 10 | yes | yes | yes |  |  | frequency possible
Total included |  | 8 | 9 | 9 | 26 | 27 | 96.3%
Total excluded |  | 1 | 0 | 0 | 1
| Power | 12.5% | 50% | 75% | Total | Frequency
| 1 | 4 | 5 | 4 | 13 | 20.63%
| 2 | 8 | 8 | 8 | 24 | 38.1%
| 3 | 8 | 9 | 9 | 26 | 41.27%
| Total | 20 | 22 | 21 | 63
| Frequency | 31.75% | 34.92% | 33.33%

## Physician Detection Study
|  | Physician 1 (Routh) |  | Physician 2 (Struycken) |  | Physician 3 (Kim)
Number | Key | Answer | Stat | Answer | Stat | Answer | Stat
1 | I | I | TP | I | TP | I | TP
2 | N | N | TN | N | TN | N | TN
3 | I | I | TP | I | TP | I | TP
4 | I | N | FN | N | FN | N | FN
5 | N | N | TN | N | TN | N | TN
6 | I | I | TP | I | TP | I | TP
7 | N | N | TN | N | TN | N | TN
8 | I | I | TP | I | TP | I | TP
9 | I | I | TP | I | TP | I | TP
10 | N | N | TN | N | TN | N | TN
11 | N | N | TN | N | TN | N | TN
12 | I | I | TP | I | TP | I | TP
13 | N | N | TN | N | TN | N | TN
14 | N | N | TN | N | TN | N | TN
15 | I | I | TP | I | TP | I | TP
16 | N | N | TN | N | TN | N | TN
17 | N | N | TN | N | TN | I | FP
18 | I | N | FN | I | TP | I | TP
19 | N | N | TN | N | TN | N | TN
20 | I | I | TP | I | TP | N | FN
21 | I | N | FN | I | TP | I | TP
22 | N | N | TN | N | TN | N | TN
23 | N | N | TN | N | TN | N | TN
24 | I | I | TP | I | TP | I | TP
25 | N | N | TN | N | TN | N | TN
26 | I | N | FN | I | TP | N | FN
27 | I | N | FN | N | FN | I | TP
28 | I | I | TP | I | TP | I | TP
29 | N | N | TN | N | TN | N | TN
30 | N | N | TN | N | TN | N | TN
31 | N | N | TN | N | TN | N | TN
32 | I | I | TP | I | TP | I | TP
33 | I | N | FN | I | TP | N | FN
34 | I | I | TP | I | TP | I | TP
35 | N | N | TN | N | TN | N | TN
36 | I | N | FN | N | FN | I | TP
37 | I | N | FN | N | FN | N | FN
38 | N | N | TN | N | TN | N | TN
39 | I | I | TP | I | TP | I | TP
40 | I | I | TP | I | TP | I | TP
41 | N | N | TN | N | TN | N | TN
42 | I | I | TP | I | TP | I | TP
43 | N | I | FP | N | TN | I | FP
44 | I | N | FN | I | TP | I | TP
45 | N | I | FP | N | TN | N | TN
46 | I | I | TP | I | TP | I | TP
47 | N | N | TN | N | TN | N | TN
48 | I | I | TP | I | TP | I | TP
49 | N | N | TN | N | TN | N | TN
50 | I | I | TP | I | TP | I | TP
51 | I | N | FN | I | TP | I | TP
52 | N | N | TN | N | TN | N | TN
53 | I | I | TP | I | TP | I | TP
54 | N | N | TN | N | TN | N | TN
55 | I | N | FN | N | FN | N | FN
56 | I | I | TP | I | TP | I | TP
57 | N | N | TN | N | TN | N | TN
58 | N | N | TN | N | TN | N | TN
59 | N | N | TN | I | FP | N | TN
60 | N | N | TN | N | TN | N | TN
61 | I | I | TP | I | TP | I | TP
62 | N | N | TN | N | TN | N | TN
63 | I | I | TP | I | TP | I | TP
64 | N | N | TN | N | TN | N | TN
65 | I | I | TP | I | TP | I | TP
66 | N | N | TN | N | TN | N | TN
67 | I | I | TP | I | TP | I | TP
68 | N | N | TN | N | TN | I | FP
69 | I | I | TP | I | TP | I | TP
70 | N | N | TN | N | TN | N | TN
71 | I | I | TP | I | TP | I | TP
72 | N | N | TN | N | TN | N | TN
73 | I | I | TP | I | TP | I | TP
74 | N | N | TN | N | TN | N | TN
75 | I | I | TP | I | TP | I | TP
76 | I | I | TP | I | TP | I | TP
77 | N | N | TN | N | TN | N | TN
78 | I | I | TP | I | TP | I | TP
79 | N | N | TN | N | TN | N | TN
80 | I | N | FN | I | TP | I | TP
81 | I | N | FN | N | FN | I | TP
82 | I | I | TP | I | TP | I | TP
83 | N | N | TN | N | TN | N | TN
84 | I | N | FN | N | FN | N | FN
85 | I | I | TP | N | FN | N | FN
86 | N | N | TN | N | TN | N | TN
87 | N | N | TN | N | TN | N | TN
88 | I | I | TP | I | TP | I | TP
89 | N | N | TN | N | TN | N | TN
90 | I | I | TP | I | TP | I | TP
91 | N | N | TN | N | TN | N | TN
92 | I | I | TP | I | TP | I | TP
93 | N | N | TN | N | TN | N | TN
94 | I | I | TP | I | TP | I | TP
95 | N | N | TN | N | TN | N | TN
96 | N | N | TN | N | TN | N | TN
97 | I | I | TP | I | TP | I | TP
98 | I | I | TP | I | TP | I | TP
99 | N | N | TN | N | TN | N | TN
100 | N | N | TN | N | TN | N | TN
101 | I | I | TP | I | TP | I | TP
102 | N | N | TN | N | TN | N | TN
103 | N | N | TN | N | TN | N | TN
104 | N | N | TN | N | TN | N | TN
105 | I | N | FN | I | TP | I | TP
106 | N | N | TN | N | TN | N | TN
107 | N | N | TN | N | TN | N | TN
108 | I | N | FN | N | FN | N | FN
109 | N | N | TN | N | TN | N | TN
110 | I | I | TP | I | TP | I | TP
111 | N | N | TN | N | TN | N | TN
112 | N | N | TN | N | TN | N | TN
113 | N | N | TN | N | TN | N | TN
114 | I | I | TP | I | TP | I | TP
115 | N | N | TN | N | TN | N | TN
116 | I | I | TP | I | TP | I | TP
117 | N | N | TN | I | FP | N | TN
118 | I | I | TP | I | TP | I | TP
119 | N | N | TN | N | TN | N | TN
120 | N | N | TN | N | TN | N | TN
121 | I | I | TP | I | TP | I | TP
122 | N | N | TN | N | TN | N | TN
123 | I | I | TP | I | TP | I | TP
124 | N | N | TN | N | TN | N | TN
125 | I | I | TP | I | TP | I | TP
126 | I | I | TP | I | TP | I | TP
Total normal images | 63 | 77 |  | 70 |  | 69
Total injured images | 63 | 49 |  | 56 |  | 57
Total images | 126 | 126 |  | 126 |  | 126
Time to complete test | 28 | 31 |  | 20 |  | 33
Stdev | 7
| Physician 1 (Routh) |  | Physician 2 (Struycken) |  | Physician 3 (Kim)
| TP | 47 | TP | 54 | TP | 54
| FP | 2 | FP | 2 | FP | 3
| TN | 61 | TN | 61 | TN | 60
| FN | 16 | FN | 9 | FN | 9
| % Correct | 85.71% | % Correct | 91.27% | % Correct | 90.48%
| SN | 74.6% | SN | 85.71% | SN | 85.71%
| SP | 96.83% | SP | 96.83% | SP | 95.24%
| PPV | 95.92% | PPV | 96.43% | PPV | 94.74%
| NPV | 79.22% | NPV | 87.14% | NPV | 86.96%
| Total correct | 108 |  | 115 |  | 114
All physicians
|  | Stat | Total | Average
|  | TP | 155 | 51.6667
|  | FP | 7 | 2.3333
|  | TN | 182 | 60.6667
|  | FN | 34 | 11.3333
|  | % Correct |  | 89.15%
|  |  | Total | Average
|  | SN | 82.01% | 82.01%
|  | SP | 96.3% | 96.3%
|  | PPV | 95.68% | 95.69%
|  | NPV | 84.26% | 84.44%

## Pathologist Measurements
Pathologist measurement of max lesion size
Slide Number (year-block-slide#) | Length (mm) | Notes
22-56-3 | 4.36
22-52-9 | None | No lesion identified
22-91-4 | None | No lesion identified, 3.49 mm denuded section
22-94-4 | None | No lesion identified
22-95-7 | NA | cross sectional control slide for reference
22-55-4 | 2.33
22-57-(6?) | 8.77
22-58-3 | 2.71
22-59-8 | 2.22
22-60-8 | 3.8
22-61-13 | 2.08
22-62-5 | 2.07 | 4.43 separate denuded region
22-80-11 | 4.26
22-79-2 | 2.06 | Photo
22-56-5 | 4.36 | Photo
22-65-10 | 2.79 | 2nd lesion 2.30
22-63-126 | 4.74
22-65-12 | 2.63 | 2nd lesion 2.62
22-66-5 | 2.54
22-67-8 | 3.74
22-75-8 | None | No lesion identified - 9.61 mm denuded region
22-77-(6?) | 2.78
22-78-7 | None | No lesion identified
22-76-6 | 4.12
22-81-6 | None | No lesion identified
22-82-4 | 3.64
22-83-6 | 3.62
22-84-5 | None | No lesion, 2.75 mm denuded region
22-85-4 | 2.99
22-86-7 | 4.79
22-87-7 | 3.06
22-88-12 | 3.48
22-89-3 | 4.03

## OCT vs histo
Ureter # | Type | Power | Measurement (mm) | Notes
2 | Histo | Low | 2.33
3 | Histo | Low | 2.71
4 | Histo | Low | 2.08
5 | Histo | Low | 2.63
6 | Histo | Low | 0
7 | Histo | Low | 0
8 | Histo | Low | 0
9 | Histo | Low | 0
10 | Histo | Low | 3.06
2 | Histo | Med | 4.36
3 | Histo | Med | 2.22
4 | Histo | Med | 2.07
5 | Histo | Med | 2.54
6 | Histo | Med | 4.12
7 | Histo | Med | 2.06
8 | Histo | Med | 3.64
9 | Histo | Med | 2.99
10 | Histo | High | 3.48
2 | Histo | High | 8.77
3 | Histo | High | 3.8
4 | Histo | High | 4.74
5 | Histo | High | 3.74
6 | Histo | High | 2.78
7 | Histo | High | 4.26
8 | Histo | High | 3.62
9 | Histo | High | 4.79
10 | Histo | High | 4.03
2 | OCT | Low | 2.35
3 | OCT | Low | 4.45
4 | OCT | Low | 2.05
5 | OCT | Low | 6.5
6 | OCT | Low | 2.75
7 | OCT | Low | 0 | FP
8 | OCT | Low | 0
9 | OCT | Low | 0
10 | OCT | Low | 0
2 | OCT | Med | 5.75
3 | OCT | Med | 6.45
4 | OCT | Med | 3.4
5 | OCT | Med | 5.5
6 | OCT | Med | 0 | FN (by criteria)
7 | OCT | Med | 2.75
8 | OCT | Med | 3.9
9 | OCT | Med | 2.9
10 | OCT | Med | 4.55
2 | OCT | High | 10.5
3 | OCT | High | 12.85
4 | OCT | High | 6.7
5 | OCT | High | 7.25
6 | OCT | High | 4.1
7 | OCT | High | 5.5
8 | OCT | High | 3.95
9 | OCT | High | 5.6
10 | OCT | High | 6.4